## Gain vs bias
[6 empty] | 10 | 20 | 10
Bias voltage | Intrinsic gain |  |  |  |  | G_el | G_el | Gain
53.2 | 3813562 | 53.2 | 524225 | 650 | 40 | 10000 | 100 | 16250 | 1625000
53.2 | 3245585 |  |  | 635 | 50 | 100000 | 316.2278 | 1587.5 | 502011.5786
53.5 | 2097147 | 53.5 | 833866 | 345 | 40 | 10000 | 100 | 8625 | 862500
55.5 | 2995924 | 55.5 | 2401864 | 385 | 32 | 1584.8932 | 39.8107 | 60729.6444 | 2417690.6903
56 | 3354811 | 56 | 2746779 | 439 | 32 | 1584.8932 | 39.8107 | 69247.5686 | 2756795.3586
57 | 4353453 | 57 | 3430338 | 555 | 32 | 1584.8932 | 39.8107 | 87545.3315 | 3485242.4237
|  |  |  | E charge | Adc - FC
|  |  |  | 0.00016 | 40

## Staircase 1
Digitizer
ch.0: FALSE | ch.1: TRUE | DC offset 0: 0 | DC offset 1: -6 | act ch: 1 | trig mode: TRUE | rise time: 8 | trig mean: 8 | trig thr 0: 30 | trig thr 1: 10 | gate mode: FALSE | gate width: 504 | pre gate: 48 | holdoff: 504 | bsln mean: 16 | bsln thr: 8 | noflattime: 512 | GPO: 2 | coinc: FALSE | coinc time: 0
PSAU
ch.0: FALSE | ch.1: TRUE | Vset 0: 30.900000 | Vset 1: 55.599998 | Gain0: 32 | Gain1: 32 | comp0: FALSE | comp1: TRUE | thr0: -14.000000 | thr1: -15.000000 | width0: 110 | width1: 110 | DOUT0: FALSE | DOUT1: TRUE | outputlevel: TTL | coinc: FALSE | coinc time: 20
Vmon 0: 0.000000 | Vmon 1: 55.509998 | Temp 0: 21.000000 | Temp 1: 25.000000 | Temp board: 26.700001
day&time: 22Feb21194525
10 | 136247.401
12 | 136247.401
14 | 136247.401
16 | 136247.401
18 | 136247.401
20 | 136247.401
22 | 136247.401
24 | 57297.99
26 | 12288.565
28 | 10662.786
30 | 9286.071
32 | 7917.256
34 | 6538.462
36 | 4686.209
38 | 3762.024
40 | 3190.575
42 | 1074.012
44 | 290.229
46 | 246.847
48 | 180.042
50 | 149.272
52 | 120.859
54 | 90.783
56 | 72.488
58 | 54.47
60 | 30.492
62 | 15.385 |  |  | DCR 0.5 | 135000
64 | 12.751 |  |  | DCR 1.5 | 6500
66 | 7.762 |  |  | OCR | 0.048148
68 | 3.881
70 | 1.525
72 | 2.356
74 | 1.525
76 | 1.109
78 | 1.109
80 | 0.693
82 | 0.693
84 | 0.832
86 | 0.139
88 | 0.277
90 | 0.277
92 | 0
94 | 0
96 | 0
98 | 0
100 | 0.277

## Staircase 2
Digitizer
ch.0: FALSE | ch.1: TRUE | DC offset 0: 0 | DC offset 1: -6 | act ch: 1 | trig mode: TRUE | rise time: 8 | trig mean: 8 | trig thr 0: 30 | trig thr 1: 10 | gate mode: FALSE | gate width: 504 | pre gate: 48 | holdoff: 504 | bsln mean: 16 | bsln thr: 8 | noflattime: 512 | GPO: 2 | coinc: FALSE | coinc time: 0
PSAU
ch.0: FALSE | ch.1: TRUE | Vset 0: 30.900000 | Vset 1: 55.599998 | Gain0: 32 | Gain1: 32 | comp0: FALSE | comp1: TRUE | thr0: -14.000000 | thr1: -15.000000 | width0: 110 | width1: 110 | DOUT0: FALSE | DOUT1: TRUE | outputlevel: TTL | coinc: FALSE | coinc time: 20
Vmon 0: 0.000000 | Vmon 1: 55.509998 | Temp 0: 21.100000 | Temp 1: 25.000000 | Temp board: 26.700001
day&time: 22Feb21194703
10 | 255000
12 | 227266.667
14 | 241200
16 | 252520
18 | 249160
20 | 251320
22 | 260346.667
24 | 54586.667
26 | 12146.667
28 | 10773.333
30 | 8733.333
32 | 7680
34 | 6680
36 | 4680
38 | 3573.333
40 | 3653.333
42 | 1040
44 | 133.333
46 | 160
48 | 160
50 | 306.667
52 | 80
54 | 106.667
56 | 53.333
58 | 80
60 | 26.667
62 | 13.333
64 | 26.667 |  |  |  | DCR 0.5 | 245000
66 | 26.667 |  |  |  | DCR 1.5 | 6680
68 | 13.333 |  |  |  | OCR | 0.027265
70 | 0
72 | 0
74 | 0
76 | 0
78 | 0
80 | 0
82 | 0
84 | 0
86 | 0
88 | 0
90 | 0
92 | 0
94 | 0
96 | 0
98 | 0
100 | 0
10 | 242854.667
11 | 242802
12 | 242902
13 | 243983.333
14 | 244075.333
15 | 244545.333
16 | 245341.333
17 | 246356.667
18 | 245902
19 | 245690.667
20 | 247696.667
21 | 246907.333
22 | 244582
23 | 242051.333
24 | 185615.333
25 | 55510
26 | 14236.667
27 | 12241.333
28 | 11358
29 | 10744.667
30 | 10107.333
31 | 9213.333
32 | 8502
33 | 8027.333
34 | 7221.333
35 | 6480
36 | 5593.333
37 | 4514
38 | 4170
39 | 3780.667
40 | 3481.333
41 | 3270
42 | 2426.667
43 | 1082.667
44 | 396
45 | 276.667
46 | 262.667
47 | 230
48 | 198
49 | 174
50 | 181.333
51 | 153.333
52 | 124
53 | 108.667
54 | 92
55 | 84.667
56 | 66
57 | 60.667
58 | 52
59 | 62.667
60 | 46.667
61 | 24.667
62 | 19.333
63 | 13.333
64 | 14
65 | 12
66 | 7.333
67 | 2.667
68 | 8.667
69 | 4.667
70 | 1.333
71 | 5.333
72 | 1.333
73 | 2.667
74 | 1.333
75 | 1.333
76 | 1.333
77 | 1.333
78 | 0.667
79 | 2
80 | 0
81 | 0
82 | 0
83 | 0
84 | 0.667
85 | 2
86 | 0
87 | 0.667
88 | 0.667
89 | 0
90 | 0.667
91 | 0
92 | 0
93 | 0
94 | 0
95 | 0
96 | 0
97 | 0
98 | 0.667
99 | 0
100 | 0